______________________JAY UTILITIES AUTHORITY__________________

PO Box 348

Jay, Oklahoma 74346

918-253-8542

Name:  _____________________________

Address:  ____________________________

Address:  ____________________________

Date:  ______________________________

Time:  ______________________________

Dear Customer,

You are receiving this notice because our records indicate that you have a natural gas line running from your gas meter to a structure or a burning appliance.  As your natural gas distributor, Jay Utilities Authority, in accordance with Federal Regulations is to make you aware of certain safety recommendations regarding your underground natural gas piping.

Jay Utilities Authority operates our gas system with an emphasis on safety.  We are required to design, operate and maintain our underground natural gas pipeline system in accordance with prescribed Federal Safety Standards.  The gas system does not maintain the piping downstream of the gas meter.  This is the responsibility of the customer who owns that piping.  If the buried pipe is not properly maintained, it may be subject to corrosion (if the pipe is metallic) and/or leakage.

To ensure the continued safe and reliable operations of these lines, the buried piping should be checked periodically.  You (or the building owner) are advised to contact a licensed plumber or heating contractor to assist you in locating and inspecting your buried gas piping.  If any unsafe condition is discovered, repairs should be made as soon as possible.  The Yellow Pages in the telephone book are an excellent source for listing of licensed plumber and heating contractors.

If we can answer any questions regarding this notice, please give us a call at 918-253-8542.

(You may disregard this notice if you no longer have buried piping beyond the gas meter.)

CALL BEFORE YOU DIG

Should you plan to dig around buried gas piping, the piping should be located in advance and all digging should be carefully done by hand in the vicinity of the pipe.  It is a good idea to “CALL OKIE” at 800-522-6543 three days in advance of digging in order that all buried utilities may be located.  THIS IS A FREE SERVICE.

Customer Signature:  __________________________________